## Slide 1
MRI Induction 2023
30.10.2023 Robin Walker, Carl Hodgetts, Ari Lingeswaran, Ayan Sengupta

## Slide 2
Outline
CUBIC as an Organization
MRI Research Culture
MRI scanner and Equipment
MRI sequences
Become an AP
Setup a study
Pilot study
Data Analysis

## Slide 3
CUBIC as an Organization

## Slide 4
4
CUBIC as an Organization
Partner Institutions:
  Royal Holloway, University of London
  University of Surrey
  Brunel University, London
  University of Roehampton, London
RHUL colleagues only scans on Tuesdays and Thursdays
  Evenings and weekends possible (AP not provided)
We can also borrow time from partners if needed
  Needs to be paid back – can lead to bottlenecks
Current Scanner usage stats:
Usage greatest in Terms 1 and 2, low from April - October

## Slide 5
5
CUBIC RHUL Team
Director of MRI: Prof. Robin Walker
Deputy Director of MRI: Dr. Jonas Larsson
Head of MRI Research Culture: Dr. Carl Hodgetts
MRI Operations Officer: Ari Lingeswaran (Ari.Lingeswaran@rhul.ac.uk)
  All aspects of running CUBIC including:
  Safety Officer
  Training new users (Authorised Persons APs)
  Arranging first aid course
  Acting as an AP (normal working hours)
  Maintenance, QA etc
MRI Fellow: Dr. Ayan Sengupta (Ayan.Sengupta@rhul.ac.uk)
  Supporting users in design, conduct and analysis of MRI studies
  Methods innovations and good practice
  Enhancing protocols, methods innovations, workshops, etc

## Slide 6
6
MRI Scanner Upgrade
Scanner Upgradation to Siemens CimaX or Phillips MR7700
Installation expected to start in mid-2024 and completed by Dec-2024
Current MRI scanner to remain operational throughout 2024, could be longer for a funded project

## Slide 7
7
MRI Research Culture
Monthly users group meetings organized by Dr. Carl Hodgetts
Work in Progress (WIP) meetings for new studies
Involvement of partner organizations in CUBIC meetings, collaborations in research.
CUBIC Wiki (link) and forms for new studies etc.
Setting common participant pool for CUBIC in the future

## Slide 8
MRI Scanner and Equipment
Notes: Ari’s section starts here.

## Slide 9
9
MRI Scanner and Equipment
The scanner – Siemens Trio – A TIM system

## Slide 10
10
MRI Scanner and Equipment
MRI Unit - Reception Area

## Slide 11
11
MRI Scanner and Equipment
Control Room

## Slide 12
12
MRI Scanner and Equipment
Requirements for a scan:
Two APs (Authorised Persons) present.
Participants complete two screening forms and a consent form.
  All screening questions answered satisfactorily.
  Provides the details of their UK based GP.
  Remove all metal objects, credit cards, mobile phones, etc.

## Slide 13
13
MRI Scanner and Equipment
Setting up a participant
Inform about the two-way intercom
Inform about the alarm ball
Inform about the scans &
the importance of keeping still
Participants are given either ear plugs
or headphones
supported with some padding
within the head coil

## Slide 14
14
MRI Scanner and Equipment
Setting up a participant​

## Slide 15
15
MRI Scanner and Equipment
Setting up a participant​
Using the two-way intercom

## Slide 16
16
MRI Scanner and Equipment
Setting up the stimulus
Stimulus PC is available.
You can use your own laptops too.

## Slide 17
17
MRI Scanner and Equipment
Setting up the stimulus
Back projection technique – NEC projector

## Slide 18
18
MRI Scanner and Equipment
Scanning Session
Registering the details
of the participant:

## Slide 19
19
MRI Scanner and Equipment
Head coils
32 Channel head array coil

## Slide 20
20
MRI Scanner and Equipment
Head coils
32 Channel head array coil
With the mirror mounted

## Slide 21
21
MRI Scanner and Equipment
Head coils
16 Channel head array coil

## Slide 22
22
MRI Scanner and Equipment
Head coils
Birdcage coil

## Slide 23
23
MRI Scanner and Equipment
Peripheral Equipment
Specially adapted mouse, Left click delivered at the start of each TR for EPIs
Button boxes (CRS – 8 Keys – colour coded, NATA – 10 keys)
Corrective lenses
Headphones (Sensimetrics)
Microphone – OptoAcoustics – FO MRI - III
Eye tracking camera (SR Research, Nordic system)
Bio-Pack modules
TDCS

## Slide 24
24
MRI Scanner and Equipment
Peripheral Equipment – Optical mouse
Program your stimulus to start with a left mouse click
to synchronise it with the scanner

## Slide 25
25
MRI Scanner and Equipment
Peripheral Equipment – Button box - NATA

## Slide 26
26
MRI Scanner and Equipment
Peripheral Equipment – Button box - CRS

## Slide 27: MRI Scanner and Equipment
  Opto-Acoustics headphones
    Active noise cancelling
    Thin pads
    20 dB attenuation
MRI Scanner and Equipment
Peripheral Equipment – Headphones

## Slide 28
28
MRI Scanner and Equipment
Peripheral Equipment – Microphone

## Slide 29
29
MRI Scanner and Equipment
Peripheral Equipment – Eye Tracking
SR Research – Eye Link system

## Slide 30
30
MRI Scanner and Equipment
Peripheral Equipment – BioPack & TDCS
Physiological measurements:
  Grip force sensors
  ECG / EMG
  Nonin Pulseoxymeter
TDCS - neuroConn

## Slide 31
31
MRI Sequences
Anatomical Scans:
3D – MPRage ~ 5 minutes
3D – Mdeft – long scan ~13 minutes
2D - T1, T2, GRE, FLAIR, STIR

## Slide 32
32
MRI Sequences
Functional Scans:
EPI ASL Multiband
fMRI:
  Standard (2 s, 3 mm iso)
  High resolution (>1.5 mm in-plane)
  Faster (>1 s)
  Larger FOV (205 mm)
  Multi-Band (>~0.5 s, >1.5mm in-plane)

## Slide 33
33
MRI Sequences
Whole-brain Multiband fMRI
Faster acquisition: higher power, more precise sampling of the noise
Higher resolution: lower PVE, smaller susceptibility effect, MVPA

## Slide 34
34
MRI Sequences
Other Scans:
  DTI – Diffusion Tensor Imaging
  Field maps - same geometry as fMRI (FOV, resolution, angle)

## Slide 35
35
MRI Sequences
Other Scans:
MRS - Spectroscopy - Siemens sequence
MRS – GABA – Jamie Near's special sequence

## Slide 36
36
MRI Data
Data comes out in DICOM format. ( *.IMA)
In the Siemens host PC for up to 2 weeks.
Transferred to the MRI server on the same day.
Example file name:
19950621ABCD.MR.RH_Andy.0001.0001.2023.07.31.13.38.
36.656250.72689748.IMA
Participant ID, Modality, Protocol used, Series No, Image No, Date and time of export, System generated ID.

## Slide 37
37
Becoming an AP
MRI Safety Test: Written test [Reading list: MRI Local Rules, MHRA Guidance and Risk assessments].
Watch the safety video
Attend a safety lecture / watch the lecture video
First aid course - Emergency First Aid at Work.
Training in moving an unconscious participant from the scanner.
Basic fire training – given part of departmental induction

## Slide 38
38
Booking Scanner slots
RH days are Tuesdays and Thursdays
Online calendar system for booking
Bookings are made according to local booking policy – in CUBIC Wiki.
Minimum 15-minute slots
Out of hours and weekends - possible
Pilot testing and equipment testing will not be charged

## Slide 39
Setup a Study

## Slide 40
40
Setup a study
Apply for grants or Research Initiative Fund (PhD students and new research staff get scan credits)
Need Ethics approval (not required for pilots within lab)
Please fill out the necessary Project proposal form available in the CUBIC Wiki (link)
Work in Progress (WIP) presentation in the users group meeting
Robin approves the total time on the scanner
Ari allocates scan slots

## Slide 41
Pilot Study

## Slide 42
42
Pilot study
Several hours of free scan time for piloting
Please send literature studies, conference papers etc. or share ideas, replication experiments about a potential study or pilot scans with Ayan (Ayan.Sengupta@rhul.ac.uk ) ASAP.
Ayan helps in designing the fMRI study or getting your stimulation ready for the scanner (if required).
Ari / Ayan will setup and pilot scanning sequences depending on the requirements

## Slide 43
Data Analysis

## Slide 44
44
Data Analysis
For students Ayan can help in learning to code experiments
Ayan runs PGR workshop sessions:
Introduction to fMRI and basic fMRI analysis - 8th Nov 2023
  fMRI analysis in FSL and parallel processing Part 1 - 17th Jan 2024
  fMRI analysis in FSL and parallel processing Part 2 - 24th Jan 2024
General data analysis pipelines / set up pipelines on the cluster etc. if required.
Writing publications and methods
Get in touch with Ayan : Ayan.Sengupta@rhul.ac.uk